Section 90.120  Collection Center

A collection center shall comply with the following requirements:

a)	The location of a collection center shall be in compliance with local zoning ordinances before the Department will issue a license.

b)	The collection center shall be covered by a metal roof or other permanent type structure.  The building shall be equipped with louver-type ventilators which are so screened as to prevent rodents and other animals, birds, flies, and insects from entering.

c)	Hot water or steam shall be provided to thoroughly clean the collection center premises.

d)	The collection center equipment and premises shall be disinfected with a product approved by the United States Department of Agriculture (9 CFR 71.10 (2004)).  Incorporation by reference does not include any amendments or editions beyond the date specified and may be viewed and/or copied at the Department's Springfield office.

(Source:  Amended at 28 Ill. Reg. 13415, effective October 1, 2004)