Section 215.235  Hose Specifications

a)	Hose and hose connectors shall be fabricated of materials that are resistant to the action of the nitrogen fertilizer solution being used.

b)	Hose and hose connectors shall be designed for at least the maximum pressure to which they may be subjected.