Section 270.95  Liquified Petroleum Gas

No liquified petroleum gas installations will be allowed on the State Fairgrounds until the lessee has received approval from the State Fire Marshal (see 41 Ill. Adm. Code 200).   No liquified petroleum gas will be allowed in any State building at any time.

(Source:  Amended at 18 Ill. Reg. 9400, effective June 12, 1994)