Section 420.60  Shower Compartments

Shower compartments shall have walls constructed of smooth, noncorrosive, and nonabsorbent waterproof material to a height of not less than 6 feet above the floor.