Section 320.EXHIBIT B  Radiation Detection Equipment

A)	Operational

1)	Types of radiation detection kits for operations:

a)	The radiation detection kit (CD V-777-1) is the basic operation kit.  It consists of the following items in the quantities indicated:

(1) CD V-715 Survey Meter (0-500 r/hr)

(1) CD V-700 Survey Meter (0-50 mr/hr)

(1) CD V-750 dosimeter charger

(6) CD V-742 dosimeter (0-200 r)

(6) Batteries

(6) Exposure Record Forms

b)	The items and corresponding quantities of instruments within the CD V-777-2 kits are included are listed as follows:

(1) CD V-717 Survey Meter (0-500 r)

(1) CD V-750 dosimeter charger

(6) CD V-742 dosimeter (0-200 r)

(2) batteries

(6) Exposure Record forms

B)	Training

1)	The radiation detection training kit (CD V-777-T) consists of the following items and amounts:

(1) CD V-715 Survey meter (0-500 r/hr)

(1) CD V-700 Survey meter (0-50 mr/hr)

(1) CD V-750 dosimeter charger

(1) CD V-138 dosimeter (0-200 mr)

(1) CD V-742 dosimeter (0-200 r)

(6) Batteries

(2) Exposure record forms

2)	The training source set (CD V-778) consists of the following items and amounts:

(6) CD V-784 radioactive source capsules

(1) CD V-792 large lead container

(1) CD V-791 small lead container

(1) CD V-788 long-handled tongs

(2) locks for large lead container

(1) key for locks

(6) Danger Radiation Area Signs

(2) Caution Radiation Area Signs