Section 310.100  Prohibited Uses

a)	Hand-held fluoroscopic screens shall not be used with x-ray equipment.

b)	Shoe-fitting fluoroscopic devices shall not be used.

(Source:  Amended at 17 Ill. Reg. 18472, effective January 1, 1994)