Section 335.35  Suppliers for Sealed Sources or Devices for Medical Use

For medical use, a licensee shall only use:

a)	Sealed sources or devices manufactured, labeled, packaged, and distributed in accordance with a license issued under 32 Ill. Adm. Code 330 or equivalent requirements of the U.S. Nuclear Regulatory Commission or an Agreement State.

b)	Sealed sources or devices non-commercially transferred from an Agency, U.S. Nuclear Regulatory Commission or an Agreement State medical use licensee.

c)	Teletherapy sources manufactured and distributed in accordance with a license issued under 32 Ill. Adm. Code 330 or equivalent requirements of the U.S. Nuclear Regulatory Commission or an Agreement State.

(Source:  Added at 46 Ill. Reg. 966, effective December 21, 2021)