Section 336.80  Conditions

Water samples must be collected by employees or agents of a community water supply under the direction of a properly certified operator.  Samples submitted shall be in the Agency's supplied container.  Samples not submitted in accordance with the Agency's supplied instructions will not be tested, and resampling will be required.  Upon completion of analytical work, the Agency will send the results directly to the IEPA, thereby fulfilling the reporting requirement of a participating community water supply.  The Agency will also send a copy of the results to the community water supply.

(Source:  Amended at 28 Ill. Reg. 6436, effective April 14, 2004)