SUBPART A:  GENERAL PROVISIONS

Section

340.10	Purpose

340.20	Scope

340.25	Incorporations by Reference

340.30	Definitions

340.40	Implementation

SUBPART B:  RADIATION PROTECTION PROGRAMS

Section

340.110	Radiation Protection Programs

SUBPART C:  OCCUPATIONAL DOSE LIMITS

Section

340.210	Occupational Dose Limits for Adults

340.220	Compliance with Requirements for Summation of External and Internal Doses

340.230	Determination of External Dose from Airborne Radioactive Material

340.240	Determination of Internal Exposure

340.250	Determination of Prior Occupational Dose

340.260	Planned Special Exposures

340.270	Occupational Dose Limits for Minors

340.280	Dose Equivalent to an Embryo/Fetus

SUBPART D:  RADIATION DOSE LIMITS FOR

INDIVIDUAL MEMBERS OF THE PUBLIC

Section

340.310	Dose Limits for Individual Members of the Public

340.320	Compliance with Dose Limits for Individual Members of the Public

SUBPART E:  TESTING FOR LEAKAGE OR CONTAMINATION OF SEALED SOURCES

Section

340.410	Testing for Leakage or Contamination of Sealed Sources

SUBPART F:  SURVEYS AND MONITORING

Section

340.510	General

340.520	Conditions Requiring Individual Monitoring of External and Internal Occupational Dose

340.530	Location of Individual Monitoring Devices

340.540	Calibration of Survey Instruments

SUBPART G:  CONTROL OF EXPOSURE FROM

EXTERNAL SOURCES IN RESTRICTED AREAS

Section

340.610	Control of Access to High Radiation Areas

340.620	Control of Access to Very High Radiation Areas

340.630	Control of Access to Very High Radiation Areas – Irradiators

SUBPART H:  RESPIRATORY PROTECTION AND CONTROLS

TO RESTRICT INTERNAL EXPOSURE IN RESTRICTED AREAS

Section

340.710	Use of Process or Other Engineering Controls

340.720	Use of Other Controls

340.730	Use of Individual Respiratory Protection Equipment

SUBPART I:  STORAGE AND CONTROL OF LICENSED

OR REGISTERED SOURCES OF RADIATION

Section

340.810	Security and Control of Licensed or Registered Sources of Radiation

340.820	Storage of Volatiles and Gases

340.830	Control of Volatiles and Gases

SUBPART J:  PRECAUTIONARY PROCEDURES

Section

340.910	Caution Signs

340.920	Posting Requirements

340.930	Exceptions to Posting Requirements

340.940	Labeling Containers and Radiation Machines

340.950	Exemptions to Labeling Requirements

340.960	Procedures for Receiving and Opening Packages

SUBPART K:  WASTE DISPOSAL

Section

340.1010	General Requirements

340.1020	Method for Obtaining Approval of Proposed Disposal Procedures

340.1030	Disposal by Release into Sanitary Sewerage

340.1040	Treatment or Disposal by Incineration

340.1045	Decay-In-Storage

340.1050	Disposal of Specific Wastes

340.1052	Classification of Radioactive Waste for Land Disposal

340.1055	Radioactive Waste Characteristics

340.1057	Labeling

340.1060	Transfer for Disposal and Manifests

340.1070	Compliance with Environmental and Health Protection Regulations

SUBPART L:  RECORDS

Section

340.1110	General Provisions

340.1120	Records of Radiation Protection Programs

340.1130	Records of Surveys and Calibrations

340.1135	Records of Tests for Leakage or Contamination of Sealed Sources

340.1140	Records of Prior Occupational Dose

340.1150	Records of Planned Special Exposures

340.1160	Records of Individual Monitoring Results

340.1170	Records of Dose to Members of the Public

340.1180	Records of Waste Disposal

340.1190	Records of Testing Entry Control Devices for Very High Radiation Areas

340.1195	Form of Records (Repealed)

SUBPART M:  REPORTS AND NOTIFICATIONS

Section

340.1205	Notification of Credible Threats

340.1210	Reports of Stolen, Lost, or Missing Sources of Radiation

340.1220	Notification of Incidents

340.1230	Reports of Exposures, Radiation Levels and Concentrations of Radioactive Material Exceeding the Constraints or Limits

340.1240	Reports of Planned Special Exposures

340.1250	Notifications and Reports to Individuals

340.1260	Reports of Leaking or Contaminated Sealed Sources

340.1270	Reports of Missing Waste Shipments

SUBPART N:  ADDITIONAL REQUIREMENTS

Section

340.1310	Vacating Premises

340.1320	Removal of Radioactive Contamination

340.APPENDIX A		Decontamination Guidelines

340.ILLUSTRATION A	Radiation Symbol