Section 351.3020  Handling Tools

The licensee or registrant shall provide and require the use of tools that will assure remote handling of sealed sources other than low-activity calibration sources.