Section 351.4020  Documents and Records Required at Field Stations

Each licensee or registrant shall maintain, for inspection by the Agency, the following documents and records for the specific devices and sources used at the field station:

a)	Appropriate license, certificate of registration or equivalent document issued by the Nuclear Regulatory Commission, an Agreement State or Licensing State;

b)	Operating and emergency procedures required by Section 351.2020 of this Part;

c)	32 Ill. Adm. Code: Chapter II, Subchapters b and d;

d)	Records of the latest survey instrument calibrations pursuant to Section 351.1040 of this Part;

e)	The dates of the latest tests for leakage or contamination performed on the sealed sources and the results of the tests;

f)	Quarterly inventories required pursuant to Section 351.1060 of this Part;

g)	Utilization records required pursuant to Section 351.1070 of this Part;

h)	Records of inspection and maintenance required pursuant to Section  351.1100 of this Part; and

i)	Survey records required pursuant to Section 351.4010 of this Part.

(Source:  Amended at 28 Ill. Reg. 12643, effective October 1, 2004)