Section 351.4030  Documents and Records Required at Temporary Jobsites

Each licensee or registrant conducting operations at a temporary jobsite shall have the following documents and records available at that site for inspection by the Agency:

a)	Operating and emergency procedures required by Section 351.2020 of this Part;

b)	Survey records required pursuant to Section 351.4010 of this Part for the period of operation at the site;

c)	Evidence of current calibration for the radiation survey instruments in use at the site;

d)	The licensee's radioactive material license, including all appropriate amendments;

e)	When operating in the State under reciprocity as provided for in 32 Ill. Adm. Code 330.900, a copy of the appropriate license, certificate of registration or equivalent documents; and

f)	The dates of the latest tests for leakage or contamination performed on the sealed sources and the results of the tests.

(Source:  Amended at 28 Ill. Reg. 12643, effective October 1, 2004)