Section 351.730  Documents and Records Required at Field Stations

Each licensee or registrant shall maintain, for inspection by the Agency, the following documents and records for the specific devices and sources used at the field station:

- A copy of this Part and 32 Ill. Adm. Code 340 and 400;

- A copy of the license or certificate of registration, as applicable;

c)	Operating and emergency procedures required by Section 351.630;

d)	Records of the latest survey instrument calibrations required by Section 351.330;

e)	The record of leak test results required by Section 351.350, including the dates they were performed on the sealed sources and the test results;

f)	Physical inventory records required by Section 351.370;

g)	Use records required by Section 351.390;

h)	Records of inspection and maintenance required by Section 351.430;

- Training records required by Section 351.610(d); and

j)	Radiation survey records required by Section 351.670.