Section 351.750  Documents and Records Required at Temporary Jobsites

Each licensee or registrant conducting operations at a temporary jobsite shall have the following documents and records available at that site for inspection by the Agency:

- Operating and emergency procedures required by Section 351.630;

- Evidence of the most recent calibration of the radiation survey instruments in use at the jobsite as required by Section 351.330;

c)	The latest radiation survey records required by Section 351.670(b), (c), and (e) for the period of operation at the site;

- The shipping papers for the transportation of radioactive material required by 32 Ill. Adm. Code 341;

e)	When operating in the State under reciprocity as provided for in 32 Ill. Adm. Code 330.900, a copy of the appropriate license, certificate of registration, or equivalent documents authorizing the use of licensed material;

f)	The dates and results of the most recent tests for leakage or contamination performed on the sealed sources; and

g)	A copy of the licensee's radioactive material license, including all appropriate amendments.