Section 380.70  Monitoring

Operators of analytical x-ray equipment shall be provided with finger or wrist radiation monitoring devices as required by 32 Ill. Adm. Code 340.520.

(Source:  Amended at 33 Ill. Reg. 2240, effective January 23, 2009)