Section 390.70  Personnel Training

a)	The registrant shall ensure that all personnel who operate particle accelerators:

1)	Receive instruction in the fundamentals of radiation safety including:

A)	Characteristics of beta, gamma and x-radiation;

B)	Units of radiation dose equivalent (sievert or rem);

C)	Hazards of excessive exposure to radiation;

D)	Levels of radiation from particle accelerators; and

E)	Methods used to limit radiation doses at the specific facility to be operated, including:

i)	Shielding;

ii)	Interlock system;

iii)	Safety rules; and

iv)	Radiation monitoring equipment.

2)	Receive instruction in the use and care of individual monitoring devices used at the facility.

3)	Are knowledgeable of:

A)	The location and use of all operating controls;

B)	The pertinent requirements of 32 Ill. Adm. Code:  Chapter II, Subchapter b; and

C)	The registrant's written operating and emergency procedures.

4)	Receive at least 1 month of on-the-job training before assuming operational responsibility.

b)	All operator's assistants or helpers shall receive the training listed in subsections (a)(1) through (a)(3) above.

(Source:  Amended at 18 Ill. Reg. 3143, effective February 22, 1994)