Section 422.APPENDIX B   Recommended Testing Strategy for Measurements in Buildings Involved in Real Estate Transactions

The first step is to perform a short-term measurement* in the lowest structural areas**.

| Perform a Short-Term Test The minimum length of a short-term test shall be 48 hours. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| There are 2 methods that may be used for short-term testing during a Real Estate transaction. (1) Simultaneous Tests – Two short-term tests set side by side conducted simultaneously. (2) Continuous Monitor Testing – A Continuous Monitor that measures in hourly increments. |  |  |  |  |  |  |  |
|  | If the result is less than 4.0 pCi/L |  |  |  | If the result is 4.0 pCi/L or more |  |  |
|  | No further action is required. Retest in two years or if any renovations or additions are made to the building. |  |  |  | Fix the home. |  |  |

*	Short-term tests may last between 2 and 90 days, most last between 2 and 7 days.  Tests between seven and 90 days are usually impractical for real estate transactions but are fine for homeowners assessing their own radon situation.  Examples of short-term detectors used in home environment testing include:  activated charcoal canisters, charcoal liquid scintillation vials, electret chambers and continuous monitors.

**	Conduct a short-term test in each of the lowest structural areas suitable for occupancy in the home.  For example, if the home is a split-level building with one or more foundation types:  test in the basement, in a room over the crawlspace and in a slab-on-grade room.  In accordance with this protocol, measurement professionals are required to test in each of the foundation types.

(Source:  Amended at 33 Ill. Reg. 14479, effective October 9, 2009)