Section 505.120  Inspection Certificates (general)

a)	Inspection Certificates for nuclear power systems shall be issued in accordance with Section 505.1200.  Inspection Certificates for non-ISI boilers and pressure vessels shall be issued in accordance with Section 505.2200.  Both nuclear power systems and non-ISI boilers and pressure vessels and their Inspection Certificates shall be subject to the provisions of subsections (b) and (c).

b)	Owners shall keep the Inspection Certificate in an accessible location.

c)	Boilers and pressure vessels that change classification (i.e., to or from ISI or non-ISI) as a result of additions to or deletions from the Inservice Inspection Plan shall be subject to the registration and submittal requirements of the new classification. To reduce the administrative burden on the owner, the owner need only inform the Agency of all previous submittals made on behalf of existing registration that the owner intends to apply to the new classification.

(Source:  Amended at 33 Ill. Reg. 4345, effective March 9, 2009)