Section 505.1700  Use of Alternative Standards for Construction, Inspection and Repair

a)	Approval to permit an owner to use alternative standards for construction, inspection or repair of an ISI boiler or pressure vessel is vested in the NRC.  The Agency shall accept alternative construction, inspection or repair standards that have been accepted by the NRC.

b)	Owners shall meet the requirements of Section 505.170 in all cases involving use of alternative standards for ISI boilers or pressure vessels.

(Source:  Amended at 33 Ill. Reg. 4345, effective March 9, 2009)