Section 505.2100  Registration Requirements

For registration of each non-ISI boiler or pressure vessel, except those exempt under Section 505.50(a), the owner shall submit the following to the Agency.  If the submittal applies to a collection of non-ISI boilers and pressure vessels, the owner shall submit the documentation once for the non-ISI boilers and pressure vessels included in the submittal.

a)	For each non-ISI boiler and pressure vessel not already registered with the Agency, the owner shall submit any manufacturer's Data Reports related to the construction, repair, replacement or alteration of the non-ISI boiler or pressure vessel and its appurtenances.

AGENCY NOTE:  Data Reports as used in this subsection (a) refers to those documents completed as required by the construction code applicable to the non-ISI boiler or pressure vessel.

b)	For boilers and pressure vessels covered by this Section, owners shall meet the requirements of Section 505.110.

(Source:  Amended at 33 Ill. Reg. 4345, effective March 9, 2009)