Section 601.280  Tests at Waste Disposal Facilities

The licensee shall perform, or permit the Agency to perform, any tests the Agency deems appropriate or necessary for the administration of the requirements in this Part, including, but not limited to, tests of:

a)	Wastes and facilities used for the receipt, storage, treatment, handling and disposal of radioactive wastes;

b)	Radiation detection and monitoring instruments; and

c)	Other equipment and devices used in connection with the receipt, possession, handling, treatment, storage or disposal of waste.