Section 622.80  Noncompliance and Reporting of Incidents

a)	Each registrant shall report to the Agency any noncompliance with this Part within 30 days after the noncompliance is discovered.

b)	Each registrant shall, within 30 days of discovery of the event, report to the Agency each event involving loss of control of water treatment residuals possessed by the registrant that may have caused, or threatens to cause, an unplanned contamination event outside of a restricted area exceeding the values specified in Appendix A of 32 Ill. Adm. Code 340.

AGENCY NOTE:  Reports can be made to EMA.RadiumResiduals@illinois.gov or the 24-hour IEMA-OHS Communications Center (217-782-7860).

c)	Persons found to have caused or contributed to violations of the requirements of this Part may be required to:

1)	Remediate under the Agency's rules in Title 32 of the Illinois Administrative Code;

2)	Reimburse for remediation efforts initiated on the person's behalf under 32 Ill. Adm. Code 310; and

3)	Obtain a radioactive material license in accordance with 32 Ill. Adm. Code 330.