Section 211.4960  Potential Electrical Output Capacity

"Potential electrical output capacity" means the MWe capacity rating for the units which shall be equal to 33% of the maximum design heat input capacity of the steam generating unit.

(Source:  Added at 25 Ill. Reg. 108, effective December 26, 2000)