Section 211.5060  Pressure/Vacuum Relief Valve

"Pressure/vacuum relief valve" means a device affixed to the storage tank vent pipe to prevent the escape or intrusion of gases.

(Source:  Added at 18 Ill. Reg. 14962, effective September 21, 1994)