Section 211.6970  Vapor Collection System

"Vapor collection system" means all piping, seals, hoses, connections, pressure-vacuum vents, and other components between the gasoline delivery vessel or marine vessel and the vapor processing unit and/or the storage tanks.

(Source:  Amended at 18 Ill. Reg. 16379, effective October 25, 1994)