Section 217.101  Measurement Methods

Measurement of nitrogen oxides must be according to:

a)	The phenol disulfonic acid procedures, 40 CFR 60, Appendix A-4, Method 7, as incorporated by reference in Section 217.104;

b)	Continuous emissions monitoring pursuant to 40 CFR 75, as incorporated by reference in Section 217.104;

c)	Determination of Nitrogen Oxides Emissions from Stationary Sources (Instrumental Analyzer Procedure), 40 CFR 60, Appendix A-4, Method 7E, as incorporated by reference in Section 217.104;

d)	Monitoring with portable monitors pursuant to ASTM D6522-20, as incorporated by reference in Section 217.104; and

e)	How do I conduct the initial and subsequent performance tests (for turbines), regarding NOx pursuant to 40 CFR 60.4400, as incorporated by reference in Section 217.104.

(Source:  Amended at 49 Ill. Reg. 6355, effective April 23, 2025)