Section 217.165  Combination of Fuels

The owner or operator of an industrial boiler subject to this Subpart and operated with any combination of fuels must comply with a heat input weighted average emissions limitation to demonstrate compliance with Section 217.164.

(Source:  Added at 33 Ill. Reg. 13345, effective August 31, 2009)