SUBPART A:  GENERAL PROVISIONS

Section

225.100	Severability

225.120	Abbreviations and Acronyms

225.130	Definitions

225.140	Incorporations by Reference

225.150	Commence Commercial Operation

SUBPART B:  CONTROL OF MERCURY EMISSIONS

FROM COAL-FIRED ELECTRIC GENERATING UNITS

Section

225.200	Purpose

225.202	Measurement Methods

225.205	Applicability

225.210	Compliance Requirements

225.220	Clean Air Act Permit Program (CAAPP) Permit Requirements

225.230	Emission Standards for EGUs at Existing Sources

225.232	Averaging Demonstrations for Existing Sources

225.233	Multi-Pollutant Standards (MPS)

225.234	Temporary Technology-Based Standard for EGUs at Existing Sources

225.235	Units Scheduled for Permanent Shut Down

225.237	Emission Standards for New Sources with EGUs

225.238	Temporary Technology-Based Standard for New Sources with EGUs

225.239	Periodic Emissions Testing Alternative Requirements

225.240	General Monitoring and Reporting Requirements

225.250	Initial Certification and Recertification Procedures for Emissions Monitoring

225.260	Out of Control Periods and Data Availability for Emission Monitors

225.261	Additional Requirements to Provide Heat Input Data

225.263 	Monitoring of Gross Electrical Output

225.265	Coal Analysis for Input Mercury Levels

225.270	Notifications

225.290 	Recordkeeping and Reporting

225.291	Combined Pollutant Standard: Purpose

225.292	Applicability of the Combined Pollutant Standard

225.293	Combined Pollutant Standard: Notice of Intent

225.294	Combined Pollutant Standard: Control Technology Requirements and Emissions Standards for Mercury

225.295	Combined Pollutant Standard:  Emissions Standards for NOx and SO2

225.296	Combined Pollutant Standard: Control Technology Requirements for NOx, SO2, and PM Emissions

225.297	Combined Pollutant Standard: Permanent Shut-Downs

225.298	Combined Pollutant Standard: Requirements for NOx and SO2 Allowances

225.299	Combined Pollutant Standard: Clean Air Act Requirements

SUBPART C:  CLEAN AIR ACT INTERSTATE

RULE (CAIR) SO2 TRADING PROGRAM

Section

225.300	Purpose

225.305	Applicability

225.310	Compliance Requirements

225.315	Appeal Procedures

225.320	Permit Requirements

225.325	Trading Program

SUBPART D:  CAIR NOx ANNUAL TRADING PROGRAM

Section

225.400	Purpose

225.405	Applicability

225.410	Compliance Requirements

225.415	Appeal Procedures

225.420	Permit Requirements

225.425	Annual Trading Budget
225.430	Timing for Annual Allocations

225.435	Methodology for Calculating Annual Allocations

225.440	Annual Allocations

225.445	New Unit Set-Aside (NUSA)

225.450	Monitoring, Recordkeeping and Reporting Requirements for Gross Electrical Output and Useful Thermal Energy

225.455	Clean Air Set-Aside (CASA)

225.460	Energy Efficiency and Conservation, Renewable Energy, and Clean Technology Projects

225.465	Clean Air Set-Aside (CASA) Allowances

225.470	Clean Air Set-Aside (CASA) Applications

225.475	Agency Action on Clean Air Set-Aside (CASA) Applications

225.480	Compliance Supplement Pool

SUBPART E:  CAIR NOx OZONE SEASON TRADING PROGRAM

Section

225.500	Purpose

225.505	Applicability

225.510	Compliance Requirements

225.515	Appeal Procedures

225.520	Permit Requirements

225.525	Ozone Season Trading Budget

225.530	Timing for Ozone Season Allocations

225.535	Methodology for Calculating Ozone Season Allocations

225.540	Ozone Season Allocations

225.545	New Unit Set-Aside (NUSA)

225.550	Monitoring, Recordkeeping and Reporting Requirements for Gross Electrical Output and Useful Thermal Energy

225.555	Clean Air Set-Aside (CASA)

225.560	Energy Efficiency and Conservation, Renewable Energy, and Clean Technology Projects

225.565	Clean Air Set-Aside (CASA) Allowances

225.570	Clean Air Set-Aside (CASA) Applications

225.575	Agency Action on Clean Air Set-Aside (CASA) Applications

SUBPART F: COMBINED POLLUTANT STANDARDS

225.600	Purpose (Repealed)

225.605	Applicability (Repealed)

225.610	Notice of Intent (Repealed)

225.615	Control Technology Requirements and Emissions Standards for Mercury (Repealed)

225.620	Emissions Standards for NOx and SO2 (Repealed)

225.625	Control Technology Requirements for NOx, SO2, and PM Emissions (Repealed)

225.630	Permanent Shut Downs (Repealed)

225.635	Requirements for CAIR SO2, CAIR NOx, and CAIR NOx Ozone Season Allowances (Repealed)

225.640	Clean Air Act Requirements (Repealed)

225.APPENDIX A	Specified EGUs for Purposes of the CPS (Coal-Fired Boilers as of July 1, 2006)

225.APPENDIX B	Continuous Emission Monitoring Systems for Mercury

225.EXHIBIT A	Specifications and Test Procedures

225.EXHIBIT B	Quality Assurance and Quality Control Procedures

225.EXHIBIT C	Conversion Procedures

225.EXHIBIT D	Quality Assurance and Operating Procedures for Sorbent Trap Monitoring Systems