Section 302.103  Stream Flows

Except as otherwise provided in this Chapter, the water quality standards in this Part apply at all times except during periods when flows are less than the average minimum seven-day low flow that occurs once in ten years.

(Source:  Amended at 47 Ill. Reg. 4437, effective March 23, 2023)