Section 302.307  Radium 226 and 228

Radium 226 and 228 combined concentration must not exceed 5 picocuries per liter (pCi/L) at any time.

(Source:  Amended at 47 Ill. Reg. 4437, effective March 23, 2023)