Section 303.321  Wabash River Temperature

Instead of the standards of 35 Ill. Adm. Code 302.211(e), the water temperature at representative locations in the main river of the Wabash River and its interstate tributaries must not exceed the maximum limits in the following table during more than 1% of the hours in the 12-month period ending with any month.  The water temperature at these locations must not at any time exceed the maximum limits in the following table by more than 1.7 ºC (3 ºF).

|  | ºC | ºF |  |  | ºC | ºF |
| --- | --- | --- | --- | --- | --- | --- |
| JAN. | 10 | 50 |  | JUL. | 32 | 90 |
| FEB. | 10 | 50 |  | AUG. | 32 | 90 |
| MAR. | 16 | 60 |  | SEPT. | 32 | 90 |
| APR. | 21 | 70 |  | OCT. | 26 | 78 |
| MAY | 27 | 80 |  | NOV. | 21 | 70 |
| JUN. | 32 | 90 |  | DEC. | 14 | 57 |

(Source:  Amended at 47 Ill. Reg. 4575, effective March 23, 2023)