Section 306.304  Overflows

Overflows from sanitary sewers are prohibited.

(Source:  Amended at 47 Ill. Reg. 4641, effective March 23, 2023)