Section 306.403  Critical Review

a)	Critical review means the Agency's determination that a sewer is approaching hydraulic capacity or a sewage treatment plant is approaching design capacity and, as a result, additional sewer connection permit applications will require close scrutiny to determine whether issuance would result in a violation of the Act or regulations.

b)	Notification of Critical Review is a warning that Restricted Status is imminent unless corrective action is taken.  A facility may be placed on Critical Review whenever, based upon information available to it, the Agency determines that the organic or hydraulic loading of any facility is greater than 80% of the permitted or designed capacity of that facility, as defined in Section 306.402.

(Source:  Amended at 47 Ill. Reg. 4641, effective March 23, 2023)