Section 307.2410  Indirect Discharge Point Sources

a)	Applicability.  The Board incorporates by reference 40 CFR 414.11 (2005).  This incorporation includes no later amendments or editions.  This Section applies to the discharge of process wastewater resulting from the manufacture of the OCPSF products and product groups defined by 40 CFR 414.11 from any indirect discharge point source.

b)	Specialized Definitions.  None.

c)	Existing Sources

1)	The Board incorporates by reference 40 CFR 414.111 (2005).  This incorporation includes no later amendments or editions.

2)	No person subject to the pretreatment standards incorporated by reference in subsection (c)(1) may cause, threaten, or allow the discharge of any contaminant to a POTW in violation of those standards.

d)	New Sources.  All sources are treated as existing sources.

(Source:  Amended at 47 Ill. Reg. 4662, effective March 23, 2023)