Section 310.211  Status of Local Limits

If a POTW develops local limits in the form of specific prohibitions or limits on pollutants, pollutant parameters, or BMPs, such local limits are to be considered pretreatment standards for the purposes of this Part.

BOARD NOTE:  Derived from 40 CFR 403.5(d) (2005).

(Source:  Amended at 30 Ill. Reg. 17847, effective October 26, 2006)