Section 310.310  Calculation of Revised Discharge Limits

Revised discharge limits for a specific pollutant must be derived by use of the following formula:

| y | = | 100x |
| --- | --- | --- |
|  |  | (100 - r) |

where:

| x | = | Pollutant discharge limit specified in the applicable categorical pretreatment standard. |
| --- | --- | --- |
| r | = | Removal credit for the particular pollutant as established pursuant to Section 310.311 (percentage removal expressed as a percent, that is, a number between 0 and 100). |
| y | = | Revised discharge limit for the specified pollutant (expressed in same units as x). |

BOARD NOTE:  Derived from 40 CFR 403.7(a)(4) (2003).

(Source:  Amended at 28 Ill. Reg. 3390, effective February 6, 2004)