Section 310.410  Application

a)	Applications for pretreatment permits must include the following information:

1)	The location of the wastewater source and discharge;

2)	The location of the sewer to which the industrial user will discharge;

3)	The POTW and treatment works that will receive the discharge;

4)	The volume discharged;

5)	A description of the wastewater before any pretreatment and before discharge, including a statement as to the presence or absence of all contaminants for which pretreatment requirements have been established in 35 Ill. Adm. Code 307;

6)	Any projected changes in the volume or description of the wastewater that the industrial user desires to have included in the terms of the permit;

7)	A certification of capacity to transport and treat the wastewater as specified in Section 310.411; and

8)	Such additional information as the Agency determines is necessary to determine whether the industrial user will meet the requirements of this Part and 35 Ill. Adm. Code 307.

b)	The Agency must promulgate application forms for pretreatment permits.

(Source:  Amended at 47 Ill. Reg. 5083, effective March 23, 2023)