Section 310.533  Water Quality Management

The Agency must review POTW pretreatment programs to assure consistency with water quality management plans.

BOARD NOTE:  Derived from 40 CFR 403.9(g) (2003).

(Source:  Amended at 28 Ill. Reg. 3390, effective February 6, 2004)