Section 310.621  Compliance Schedule for POTWs

The following conditions and reporting requirements must apply to the compliance schedule for the development of an approvable POTW pretreatment program required by Sections 310.501 through 310.510.

a)	The schedule must contain increments of progress in the form of dates for the commencement and completion of major events leading to the development and implementation of a POTW pretreatment program (e.g., acquiring required authorities, developing funding mechanisms, acquiring equipment);

b)	No increment referred to in subsection (a) may exceed nine months;

c)	Not later than 14 days following each date in the schedule and the final date for compliance, the POTW must submit a progress report to the Agency including as a minimum, whether or not it complied with the increment of progress to be met on such date and, if not, the date on which it expects to comply with this increment of progress, the reason for the delay, and the steps taken by the POTW to return to the schedule established.  In no event may more than nine months elapse between such progress reports to the Agency.

BOARD NOTE:  Derived from 40 CFR 403.12(k) (2005), as amended at 70 Fed. Reg. 60134 (Oct. 14, 2005).

(Source:  Amended at 47 Ill. Reg. 5083, effective March 23, 2023)