Section 310.712  Contents of FDF Request

Written requests for an FDF determination must include:

a)	The name and address of the person making the request;

b)	Identification of the interest of the requester that is affected by the categorical pretreatment standard for which the FDF determination is requested;

c)	Identification of the POTW currently receiving the waste from the industrial user for which alternative discharge limits are requested;

d)	Identification of the categorical pretreatment standards that are applicable to the industrial user;

e)	A list of each pollutant or pollutant parameter for which an alternative discharge limit is sought;

f)	The alternative discharge limits proposed by the requester for each pollutant or pollutant parameter identified in subsection (e);

g)	A description of the industrial user's existing water pollution control facilities;

h)	A schematic flow representation of the industrial user's water system including water supply, process wastewater systems, and points of discharge; and

i)	A statement of facts clearly establishing why the request for an FDF determination should be approved, including detailed support data, documentation, and evidence necessary to fully evaluate the merits of the request (e.g., technical and economic data collected by USEPA and used in developing each pollutant discharge limit in the pretreatment standard).

BOARD NOTE:  Derived from 40 CFR 403.13(h) (2003).

(Source:  Amended at 47 Ill. Reg. 5083, effective March 23, 2023)