Section 364.203  F1 Factor

F1 is a factor which evaluates the quantity of wastewater adjusted for strength.  It is calculated as follows:

F1 = log10 (PE BOD, existing wastewater load)