Section 365.730  Construction Engineering

The loan recipient shall provide construction engineering and project monitoring to assure that the construction substantially conforms with the approved plans and specifications.

(Source:  Amended at 30 Ill. Reg. 15590, effective September 18, 2006)