Section 366.504  D3 Factor (Flooding Frequency)

D3 is a factor that considers the frequency of street or area flooding caused by inadequate combined sewer transport capacity.  The factor will be based on the annual frequency of flooding events as follows:

| 0 times per year | = | 1.00 |
| --- | --- | --- |
| 1-5 times per year | = | 1.01 |
| 6-10 times per year | = | 1.02 |
| 11-15 times per year | = | 1.03 |
| 16-20 times per year | = | 1.04 |
| > 20 times per year | = | 1.05 |