Section 366.APPENDIX D   Excellence of Operation Scoring Review Sheet For Local Government Units That Own Only Wastewater Collection Facilities

This scoring sheet will be used to rate those projects which have demonstrated excellence in the maintenance and operation of existing wastewater treatment facilities.  The scoring factors are as follows:

A.	COLLECTION SYSTEM PERFORMANCE AND CONTROL:

| 1. | When was the original collection system installed? |  | . |  |
| --- | --- | --- | --- | --- |
|  | (0.2 points will be awarded for each 10 years over 20 years old for the original system to a maximum of 1.0 point.) |  |  |  |
| 2. | If there have been no basement backups reported in the last year, 1.0 point; in the last five years, 2.0 points; in the last 10 years, 3.0 point. |  |  |  |
| 3. | If there have been no sewer system overflows to waters of the State, (i.e.; wet well overflows at lift stations, manhole overflow, etc.) 0.4 point per year to a 4.0 point maximum. |  |  |  |
| 4. | If there are lift stations on the collection system, are they all equipped with a standby generator or alternate means of pumping in case of a power outage? (If yes, 1.0 point.) |  |  |  |
| 5. | If all lift station wet wells are equipped with high water alarms, 1.0 point. |  |  |  |
| 6. | Do any portions of the collection system flow at full capacity during wet weather periods? (If no, then 1.0 point.) |  |  |  |
| TOTAL FOR COLLECTION SYSTEM PERFORMANCE |  |  |  |  |

B.	MAINTENANCE:

| 1. | If there is a program for systematic inspection and cleaning of all sewer system lines, 1.0 point. |  |
| --- | --- | --- |
| 2. | Have there been any television inspections of the system during the past five years? (If so, 1.0 point.) |  |
| 3. | If there is a systematic preventative maintenance program for all lift stations on the system, 1.0 point. |  |
| 4. | If there is a spare parts inventory for all lift stations, 1.0 point. |  |
| TOTAL FOR SYSTEM MAINTENANCE |  |  |

C.	ADMINISTRATION:

| 1. | Does the operating agency maintain a current sewer atlas? (If yes, 1.0 point.) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2. | Does the operating agency have a program to prohibit downspouts, footing drains, and other clean water connections to the sanitary sewer system? (If yes, 1.0 point.) |  |  |  |  |  |  |
| 3. | Is there a program for local inspection and enforcement of sewer use ordinances to prohibit downspout and footing or area drain connections? (If yes, 1.0 point.) |  |  |  |  |  |  |
| 4. | Does the operating agency have an ordinance to regulate the types of wastes discharged into its collection system? (If yes, 1.0 point.) |  |  |  |  |  |  |
| 5. | Does the operating agency have a safety program for its collection system maintenance crews? (If so, 1.0 point.) |  |  |  |  |  |  |
| TOTAL FOR SYSTEM ADMINISTRATION |  |  |  |  |  |  |  |
| TOTAL SCORE FOR ALL CATEGORIES |  |  |  |  |  |  |  |
| Reviewer |  |  |  | Date |  |  |  |