Section 369.530  Limitations on Awards for Individual Systems

a)	Construction involving privately owned residential wastewater treatment works must be part of the cost-effective solution in the approved facilities plan.

b)	Loan applicants must have legal authority to access all such privately owned systems at all reasonable times for such purposes as inspections, monitoring, building, operation, maintenance, rehabilitation and replacement.