Section 370.510  Quality of Effluent

The required degree of wastewater treatment shall be established by reference to applicable effluent and water quality standards contained in 35 Ill. Adm. Code Subtitle C, Chapter I unless more stringent limitations have been established.

(Source:  Amended at 21 Ill. Reg. 12444, effective August 28, 1997)