Section 370.630  Pre-Aeration

Pre-aeration of sewage to reduce septicity may be required in special cases.

(Source:  Added at 21 Ill. Reg. 12444,  effective August 28, 1997)