Section 370.750  Septic Tank - Tile System

a)	General

Septic tank tile systems shall be used only for domestic or similar organic waste, where soil conditions are suitable and sewers tributary to treatment works are not available.

b)	Design Standards

Specific design information is contained in the document titled  "Private Sewage Disposal Licensing Act & Code", which can be obtained from:

State of Illinois

Department of Public Health

Springfield, Illinois 62706.

(Source:  Amended at 21 Ill. Reg. 12444, effective August 28, 1997)