Section 370.800  General

Facilities for processing sludge shall be provided at all mechanical sewage treatment plants.  Handling equipment shall be capable of processing sludge to a form suitable for ultimate disposal.