Section 371.160  Introduction

a)	The introduction shall state the purpose and use of the PO.

b)	The introduction must briefly describe the scope of the construction grant project and the wastewater treatment facilities being constructed, modified or expanded.